# Leconfield Parish Council

# Fire Safety Policy

## For the Village Hall and Recreation Club

Date Adopted: 4th August 2025

Review Date: 4th August 2026

Responsible Officer: Parish Clerk / Fire Safety Officer

## 1. Policy Statement

Leconfield Parish Council is committed to ensuring the safety of all users, staff, volunteers, and visitors to the Village Hall and Recreation Club by minimizing the risk of fire and ensuring safe evacuation in the event of an emergency.

## 2. Objectives

- Prevent the outbreak of fire through good housekeeping and maintenance.

- Ensure early detection and warning in case of fire.

- Provide safe means of escape for all occupants.

- Ensure appropriate training for staff and volunteers.

- Maintain firefighting equipment and fire detection systems.

## 3. Scope

This policy applies to all individuals using or working within:

- Leconfield Village Hall

- Leconfield Recreation Club

Including during public events, private bookings, and community activities.

## 4. Fire Risk Assessment

- A fire risk assessment will be conducted annually by a competent person.

- The assessment will be reviewed and updated if there are any significant changes to the premises, equipment, or activities, or following a fire incident or near-miss.

- A written record of all assessments and reviews will be maintained.

## 5. Fire Prevention Measures

- Electrical Safety: All electrical equipment must be PAT tested annually.

- Heating Systems: Regular maintenance and servicing.

- No Smoking Policy: Smoking is strictly prohibited within the buildings.

- Storage: Flammable materials will be stored appropriately.

- Housekeeping: Corridors and exits must be kept clear at all times.

## 6. Fire Detection and Alarm Systems

- Smoke and heat detectors are installed and tested monthly.

- Fire alarms are tested weekly by the designated Fire Warden or Clerk.

- Systems are serviced by qualified engineers at least annually.

## 7. Firefighting Equipment

- Fire extinguishers (CO₂, foam, water) and fire blankets are placed in key areas.

- Equipment is inspected monthly and serviced annually by an approved contractor.

## 8. Emergency Exits & Signage

- All emergency exits must:

- Be clearly marked with illuminated signs.

- Be free from obstructions at all times.

- Emergency lighting is installed and tested monthly.

## 9. Evacuation Procedure

- On hearing the alarm:

- Evacuate immediately using the nearest safe exit.

- Do not re-enter the building until it is cleared by emergency services.

- Assembly Point: Rear car park by recreation field

- Fire Wardens will assist evacuation and conduct roll calls if applicable.

## 10. Training and Awareness

- Fire safety training will be provided to:

- Parish Council staff

- Regular hall users and hirers

- Instructions are provided to all one-time users and hirers via a Fire Safety Notice.

## 11. Hirer Responsibilities

All hall hirers are responsible for:

- Familiarizing themselves with the fire exits and extinguishers.

- Ensuring all fire exits are kept clear.

- Nominating a responsible person during their booking to oversee fire safety.

- Reporting any incidents, hazards, or faulty equipment.

## 12. Record Keeping

The following will be documented:

- Fire risk assessments

- Fire alarm and equipment tests

- Training sessions

- Fire drills (minimum annually)

## 13. Policy Review

This policy will be reviewed annually or sooner if:

- Legislative requirements change

- Significant changes to the premises occur

- After a fire or near-miss incident

Signed:

Chair, Leconfield Parish Council

Date: 01/09/25

Clerk to the Council:

Date: 01/09/25